## Slide 1: SDSS
Hardware designing and implementation

## Slide 2: Uses of Phase Sequences
To Determine the type of fault (+/-/0)
+ Sequence:
  Harmonic free operation
  Unity PF operation
- Sequence
  To balance current/voltage imbalance
Zero Sequence
  Earth faults

## Slide 3: Decomposition
Fortescue Theorem
Use A-1 to calculate V012
Simple past time relation to calculate sequences
Susceptible to varied sensitivity at different samples

## Slide 4: Fast Decomposition
Use of recursive relation to reduce the phase between samples
Our implementation goes from 120 deg. to 7.5 deg. reduction
Results in a difference relation
Will be implemented as a module in verilog

## Slide 5: Component 1: Seq Comp Extractor
Calculate sequence components using fast recursion methods, rather than window based inaccurate Fortescue equation

## Slide 6: Component 2: FIR Filter
180 Order filter with following characteristics
Gain around central frequency -0.155dB
Cut- off around 3fcentral with gain -50dB

## Slide 7: Component 3: D-ZCPD
Zero crossing and peak detection
Zero crossing in a particular time detects signal frequency
Frequency allows phase calculation at any instant
Peak Detector calculates amplitude of phasor

## Slide 8: Component 4: Ada Down Sampler
Input signal frequency can vary greatly
Sampling frequency of the signal for decomposition should be adaptive
This signal should control the clk frequency for all our modules

## Slide 9: Combining all Modules
SCE , FIR, ZCPD, AdaSampler
All are connected as shown
Create and check all modules
D/A for V+/V-/V0 signals
To control circuit, depending on
application

## Slide 10: Till Next Time…
Results of all the modules separately
Performance adjustments for FIR

## Slide 11: Results: Simulink Block Diagram

## Slide 12: Results: SCE (Seq. Extractor)
Implementing thsese:

## Slide 13: Results: ZCPD
This block calculates:
V1 amplitude
V1 phase
V1 estimated frequency

## Slide 14: Results: Combining SCE and ZCPD
Phases:
A->0
B->0
C->0

## Slide 15: Results: Combining SCE and ZCPD
Phases:
A->0
B->200
C->80

## Slide 16: Results: Combining SCE and ZCPD
Phases:
A->0
B->180
C->0

## Slide 17: Results: Combining SCE and ZCPD
30 Hz

## Slide 18: Results: Combining SCE and ZCPD
100 Hz

## Slide 19: Results: Combining SCE and ZCPD
500 Hz

## Slide 20: Results: FIR Standalone
===

## Slide 21: Results: FIR Standalone

## Slide 22: Further Work
Combining the FIR performance with the SCE-ZCPD system so that input signal can have harmonics
Using ADS to see if results are consistent with varied frequency
Create a state controller for this module system with states like:
  ADC Sampling
  Output Produced state/ IDLE state, etc
Burn the working machine into a board and test